## Version
Version control sheet
Date | Version | Main changes
2016-02-01 | V2c | Included squirril cage filament lamps, minor changes to validation
2016-02-02 | V2d | Delete power measured column, changed validation on power, changed validation for some LED, changed usage inputs to est hours, updated lamp ID, added instructions
2016-02-02 | V2e | Includes horizontal lines on room and light sheet to help auditors
2016-02-03 | V2f | Clarify rennovation details on room sheet, file naming convention, fix validation on Cannot identify LE and HE technologies
2016-02-03 | V2g | Changed lamp shape to CFL base spiral, validation to check whether records are complete in Lights (room number colour is pink when record is incomplete)
2016-02-05 | V2h | Added missing lamp to Room sheet, some changes to validation, updated Lamp ID sheet, guidance about missed lamps/inserting a row in Lights, policy on missing lamps, added auditor name
2016-02-10 | V3 | Added checks on Lights sheet in Col V, added bedside lamp, split kitchen types, changed room area and height validation to warning, added lamp power sheet

## Rules
Rules
These are the rules and policies that apply to the lighting survey fields
Room Sheet
Room ID | This is iniated and processed in the sequence of the rooms surveyed. Ie - first room with lights surveyed is a bedroom, then this becomes Room ID 1. The next room entered is Room ID 2 etc
Room Type | Room type is a descriptor of the room type. To standardise the process, the following rules will apply when naming room types:
| Bathroom | Contains a shower and/or bath (may contain toilet)
| Bedroom | Contains a bed and/or is clearly intended as a space for a bed
| Dining | Contains a table and/or chairs
| Foyer-inside | Used as an entryway to the house, but has different dimensions to any hallway
| Garage | Used as a car and/or work space (includes shed) | What if garage is embodied in the house? Is it always outside? Yes, but you can enter floor area if you wish
| Hallway | Used primarily as a passageway to other rooms
| Kitchen | Contains cooking appliances and/or fridge and/or sink and/or pantry space - only select this when the kitchen is a separate room (not integrated with living area)
| Kitchen/Living | Same as kitchen but is an open plan with the main living area (lounge and or dining)
| Laundry | Contains a washing machine and/or clothes dryer and/or spaces clearly intended for their installation
| Living-other | May contain a lounge suite and/or similar chairs and/or home entertainment, but is additional to the main Lounge space
| Lounge | Contains a lounge suite and/or similar chairs and/or home entertainment equipment
| Media room | Room dedicated to television, video projector, entertainment systems or sound
| Other-inside | A space that is inside the house that does not meet the criteria for any other internal space listed
| Outside-general | A space that is external to the house and is neither a garage or verandah, but has an obvious and defined use (ie shed)
| Outside-other | A space that is outside the house that does not meet the criteria for any other external space listed
| Pantry | Used as a space for storing food and/or kitchen appliances
| Study | Contains a working space with a computer and/or desk and/or home office equipment
| Toilet | Contains a toilet, but does not contain a shower/bath
| Verandah | An area covered by roofing that is clearly attached to the house, may be used as an external entryway to the house
Room Area | This is the estimated floor area of the noted room, this will be measured using the area function of a laser tape measure. This is best estimate only and doesn't have to be exact
The Room ID should be input into lighting sheets for each entry
Only lights that are in or attached to a dwelling (or shed/garage) or where the switch is attached to the dwelling or shed are counted.
We are not doing more than 1 additional building (eg farms, we only do house and 1 associated domestic building, not farm sheds, dairies etc)
Missing lamp or luminaire where a bulb is blown/does not work
Ask the householder if this has recently blown and if so, whether they intend to replace it shortly
If YES, include the lamp in the audit and fill the details in AS IF THE LAMP WAS WORKING (note in the comments that it was actually blown during the audit)
If NO, ignore the lamp (do not enter a row on the Light sheet), but enter a count of how many lamps are missing or blown for each room (average in 2010 was about 1 per house)
PLUG IN LAMPS - only count plug in lamps that are plugged in, working and clearly in normal use (ignore other plug in lamps)
Entry required
Drop down box
Light Sheet | Use the drop down boxes and the field guide to define the light fitting type and technology attributes
Col
A | House ID should automatically display for all lights once data is entered (auto)
B | Light ID from 1 to 250 - do not edit
C | Room number - should be the relevant number on Room sheet - this turns pink if the light data is incomplete
D | Room type imported from Room sheet (auto)
E | Room area imported from Room sheet (auto)
F | Ceiling height imported from Room sheet (auto)
G | Automatic switch numbering
H | Same switch as previous light - if blank, will assume the light has its own switch and will increment the switch number,
If SAME = Y it will assume that the current light is connected to the switch for the previous light and will have the same switch number (use for chandeliers etc) (auto)
I | Connection type - F = fixed or P = plug-in - you can only enter F or P
J | Dimmer - only Y or N permitted
K | Motion sensor lamp - only Y or N permitted - normally these are only used outdoors
L | Fitting - select from drop down box
M | Light colour - you can only enter W (warm) or C (cool)
N | Lamp technology - select from drop down box
O | Lamp shape - select from drop down box (note that selection available is affected by lamp technology)
P | Lamp cap - select from drop down box (note that selection available is affected by lamp technology) - leave blank if cannot identify
Q | Lamp transformer - select from drop down box (note that selection available is affected by lamp technology) - leave blank if cannot identify
R | Lamp Watts - If the physical lamp Wattage can be identified, then it should be recorded. If this is not able to be done then, a guess can be made, although this should noted in the next column (T), measured value can also be entered
S | Indicate whether the value in Column R is as labelled (marked) (L) or a guess (G) or measured (M) - blank will assumed to be marked
T | Usage level for each lamp - enter a value in hours per day for each lamp for the light you nominate - this is approx hours per day averaged over a year
U | Comments - add any helful information where necessary
V | Final check of record- blank (clear) means record is blank or incomplete, C means usage data still to be added by otherwise complete, OK (clear) means record is complete - review before leaving the house
Red cell are auto fill for multiple lamps on the same switch - only fill in non red cells

## Instructions
General Instructions
Check the Google drive to make sure you have the most up to date BLANK template (version in the file name)
Open the BLANK file
Save the file as House ID (leave version in the file name) - FILE NAMING CONVENTION IS: 2016LightingSurvey-IDXXXVaa.xlsx WHERE XXX IS THE THREE DIGIT HOUSE ID CODE (1 LETTER AND 2 NUMBERS) and aa is the current version - SO SPACES OR ANY OTHER CHANGES TO FILE NAME
Enter the House ID on Room sheet cell B3, add the auditor name in B4
Enter the house type and the number of storeys on the Room sheet at cells F3 and F4 (if a flat, storeys is normally 1)
Enter room details on Room sheet
Enter light details for that room on the Light sheet
A good strategy seems to be to enter the room details, then all the lights in that room, then go back to Room and add the next room
However, you may prefer to enter all the rooms in the house first, then go back and do all the lights
!
AS A RULE, DO NOT DELETE ROWS OR COLUMNS IN ANY SHEET!
Room Sheet
There is NO PROTECTION on this sheet at this stage
Select Room Type in Col B (drop down box)
Column C tells you whether the selected room type is indoors or outdoors - check that this makes sense
Add the measured value for room area in square meters (validation 1 to 100) - no need to enter a value for outside spaces (but you can for rooms) - you can over-ride values outside the specified range
Add the ceiling height in metres (validation 2.1 to 7) - no need to enter a value for outside spaces (but you can for rooms) - you can over-ride values outside the specified range
Add any notes about the room
When adding areas and height, do a sanity check that the number seems to be about right (especially if you are using the area function on the laser ruler)
Total indoor floor area is shown in the red cell at D6
If there are lamps that are blown or do not work and are NOT included in the Light sheet, write down how many by room in Column G (see Rules on missing or blown lamps)
When the householder has completed the paper questionnaire, mark the rooms that have been rennovated/added in Col H and rooms with major lighting changes in Col I (Y for affected room, otherwise leave blank)
Light Sheet
There is protection on this sheet - you will only be able to change coloured cells
See Rules sheet for a detailed description of each Column
This sheet only provides guidance on use
Col C | Enter the room number - this number should already be in the Room sheet (no control on input) - this will turn pink initially and will revert to yellow when the record for the current lamp is complete (except for usage data - see Col U)
Col D-F | Auto fill room type from Rooms sheet - Even numbered room numbers have brown highlight so you can see groups of rooms
Col D-F | Auto fill - do not change (area and height from Rooms)
Col G | Auto fill - do no change - even switch numbers have blue highlight so you can visually see lights that are grouped
Col H | Same - put in a Y if the current lamp is on the same switch as the previous lamp - when you add Y, the switch numbers automatically renumber, otherwise leave blank
Col I | Connection Type - F for fixed (hard wired), P for plug in - must enter one of these (DO NOT LEAVE BLANK)
Col J | Dimmer? -Y or N - must enter one of these (DO NOT LEAVE BLANK)
Col K | Motion Sensor? -Y or N - must enter one of these (DO NOT LEAVE BLANK)
Col L | Fitting - select from the drop down box - refer to Lighting Guide if in doubt (DO NOT LEAVE BLANK)
Col M | Light Colour? -W for warm or C for Cool - must enter one of these (DO NOT LEAVE BLANK)
Col N | Lamp Technology - this is the most important field - see Lamp ID sheet for guidance (DO NOT LEAVE BLANK)
Col O | Lamp Shape - once you select the lamp technology, the selection of options changes in the drop down box - see Lighting Guide (DO NOT LEAVE BLANK)
Col P | Lamp Cap - select from the drop down box if known (ask the householder and show them pics) - leave blank if you cannot identify (default for blank is Cannot Identify)
Col Q | Lamp Transformer - select from the drop down box if known - leave blank if you cannot identify (default for blank is Cannot Identify)
Col R | Power - THIS IS VERY IMPORTANT - power can be labelled on the light/lamp, it can be measured (plug in lamp) or it can be a guess (DO NOT LEAVE BLANK)
If you are making a guess, you need to think about the technology and judge the light output, describe and maybe take a picture if you are unsure
Col S | Source of power information - leave blank if the value is marked or on a label (you can add L if you want), you must add M if the value is measured and G if it is a guess - add some notes for M or G
Col T | Usage - this is an average house per day of usage of each light in the house as nominated by the householder - must be between 0 and 24, make sure it is in hours per day
This column should be filled with a formula - once the lights are entered, subsequent lights on the same switch will be shown as RED highlight - this is an auto fill formula. Enter usage values into the orange cells only (overwrite the formula)
See usage sheet for general guidance on usage levels
Col U | Comments - note if there is anything unusual about the lamp, put in any lamp marking if you have measured the lamp, add a photo number if you have taken a photo
Col V | This is secondary check at the end - when the light data is complete (without any usage), this formula shows a C and is red - usage data still to be added, when clear and OK then the whole light record is complete (all light attributes and usage are complete)
Review Col V before leaving the house!
If the next lamp is similar or the same as any previous lamp, copy the relevant bits from Columns H to T down to the new lamp row and adjust any of the columns if required
Lamp technology unknown - you can select a low or high efficiency option if you can't see the lamp or have no way of knowing what it really is (this option has NO LAMP OR OTHER INFORMATION)
However, if you can see the lamp but you are not sure whether it is halogen or incandescent, select one or the other and add all the normal details and put in the guess power for low efficiency technology, put a note that you are unsure about technology
What if I miss a light in the audit?
1/ If you miss a light, you can tack it onto the end (it does not matter if the room numbers are not in strict order, but it is usually helpful to enter all lights in one room in adjacent rows)
2/ If the lamp you miss is linked to a switch that is already included in the audit, it is best if you put the missing lamp into the correct position
The spreadsheet protection will not allow a row to be inserted - this is because some of the formulas link between rows and row insert will muck things up
To include space for the missing lamp, follow these steps
a/ starting at the row where you want to insert the new lamp (ie 1 row below the row the light that is linked to the same switch), copy Column B from that row to the end and paste 1 row down (make a note of the row number - for example row 17)
b/ starting at the same row in a/ (eg row 17), copy all the data in cells Column H to Column U down to the end and paste 1 row down
c/ Row 17 and row 18 will now have the same light data - edit the information on row 17 to add the data for the light that you missed (most likely it will be the same as the light on row 16, so you can copy that row down to 17 and make any changes)
d/ Make sure you add Y in Column H to link the newly included lamp (on row 17) to the existing switch (on row 16)
If you are desperate, tack the light onto the end and explain in the notes to which switch it is supposed to be linked (we will manually fix it) and send me an email to tell us that it needs work (make the notes a different colour)
Y N F P L G M (single letter inputs) can be upper or lower case - options for input are usually list at the top of the column
Lamp Valid
This sheet is fully protected - DO NOT CHANGE IT
If you have any issues with any validation or with entering data, PLEASE SPEAK TO LLOYD IMMEDIATELY to resolve the problem and get a new version
Usage
This provides some guidance to the householder on the usage questions - maybe have this printed so they can look at it while giving you use estimates
Lamp ID
This sheet contains some information that may help you identify lamp technology (as discussed at the training day)
Also has standard lengths and power for linear fluorescent lamps and information in power levels for various room sizes and technologies

## Room
Room Survey Sheet |  |  | 1 to 100 | 2.1 to 7 |  | 1 to 20 | Y or leave blank
This info is transcribed
House ID | G15 |  |  | House Type | Detached house | Not in | from the HH questionnaire
Auditor | HH |  |  | Storeys | 1 | "Light" | See Q9 | See Q 11a
Name or initials
|  | Total area indoors | 131.12 |  |  | Missing | Fill in at the end
|  |  | Calc |  | No need to enter floor area or height for outdoors | or blown
|  |  | Room | Room |  | bulbs | Lighting | Lighting
Room ID | Room Type | In/Out | Area | Height | Notes | by room | Rennovation? | Major ch
1 | Lounge | Indoor | 34.05 | 2.402
2 | Verandah | Outdoor
3 | Hallway | Indoor | 4.66 | 2.448
4 | Other-inside | Indoor | 11.3 | 2.431
5 | Bedroom | Indoor | 13.88 | 2.425
6 | Study | Indoor | 8.22 | 2.439
7 | Bathroom | Indoor | 4.81 | 2.422
8 | Kitchen (open plan) | Indoor | 15.71 | 2.449
9 | Hallway | Indoor | 3.83 | 2.452
10 | Laundry | Indoor | 9.56 | 2.447
11 | Bedroom | Indoor | 19.66 | 2.447
12 | Bathroom | Indoor | 5.44 | 2.408
13 | Garage | Outdoor | 29.96 | 2.732
14 | Outside-general | Outdoor
15 |  | #N/A
16 |  | #N/A
17 |  | #N/A
18 |  | #N/A
19 |  | #N/A
20 |  | #N/A
21 |  | #N/A
22 |  | #N/A
23 |  | #N/A
24 |  | #N/A
25 |  | #N/A
26 |  | #N/A
27 |  | #N/A
28 |  | #N/A
29 |  | #N/A
30 |  | #N/A
31 |  | #N/A
32 |  | #N/A
33 |  | #N/A
34 |  | #N/A
35 |  | #N/A
36 |  | #N/A
37 |  | #N/A
38 |  | #N/A
39 |  | #N/A
40 |  | #N/A
41 |  | #N/A
42 |  | #N/A
43 |  | #N/A
44 |  | #N/A
45 |  | #N/A
46 |  | #N/A
47 |  | #N/A
48 |  | #N/A
49 |  | #N/A
50 |  | #N/A

## Light
Lighting Technology and Attribute Survey | [5 empty] | Autofill | Y | F=Fixed | Y | Y | Password EES | C=cool |  |  | Leave blank if cannot identify |  |  | L=labelled | Approx hrs |  |  |  | Dyn shape range | Dyn cap range | Dyn trans range
|  |  | Entry required |  |  |  | Same | P=Plug in | N | N |  | W=warm | [5 empty] | M=measured | Usage |  |  |  | Columns with dynamic range names for shape/cap/trans
|  |  | Drop down box |  |  |  | Switch | [10 empty] | G=guess | by
|  |  | Even room |  |  | Even sw | as prev | [10 empty] | Blank=L | switch |  |  | Do not touch these
|  | Check |  | Room | Ceiling |  | lamp | [11 empty] | red auto fill |  | Final |  |  |  |  | Recond
House ID | Light | Room ID | Room Type | Area | height | Switch | Same | Conn Type | Dimmer | Motion | Fitting | Colour | Lamp Tech | Lamp Shape | Lamp Cap | Transf/ballast | W power | W source | USAGE | Comments and notes | OK |  | Tech/Shape Range | Tech/Cap Range | Tech/Trans Range | Complete
G15 | L1 | 2 | Verandah | 0 | 0 | 1 |  | F | N | N | Wall Light | W | CFL - integral ballast | CFL bare spiral | B22 |  | 23 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L2 | 1 | Lounge | 34.05 | 2.402 | 2 |  | F | N | N | Oyster | W | Circular fluorescent | Circular tube |  |  | 32 |  | 5 |  | OK |  | ShapeCF | CapCF | TransCF | OK
G15 | L3 | 1 | Lounge | 34.05 | 2.402 | 3 |  | F | N | N | Oyster | W | Circular fluorescent | Circular tube |  |  | 32 |  | 5 |  | OK |  | ShapeCF | CapCF | TransCF | OK
G15 | L4 | 3 | Hallway | 4.66 | 2.448 | 4 |  | F | N | N | Batton Holder with Shade | W | Halogen - mains voltage | A-shape clear |  |  | 72 |  | 0.5 |  | OK |  | ShapeHMV | CapHMV | TransHMV | OK
G15 | L5 | 4 | Other-inside | 11.3 | 2.431 | 5 |  | F | N | N | Batton Holder | C | CFL - integral ballast | CFL bare spiral |  |  | 11 |  | 2 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L6 | 5 | Bedroom | 13.88 | 2.425 | 6 |  | F | N | N | Batton Holder | C | CFL - integral ballast | CFL bare spiral |  |  | 20 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L7 | 5 | Bedroom | 13.88 | 2.425 | 7 |  | P | N | N | Bedside Lamp | C | LED directional | Other |  |  | 2.8 | M | 0 | OFF .13W | OK |  | ShapeLEDdir | CapLEDdir | TransLEDdir | OK
G15 | L8 | 6 | Study | 8.22 | 2.439 | 8 |  | F | N | N | Batton Holder | C | CFL - integral ballast | CFL bare spiral |  |  | 20 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L9 | 7 | Bathroom | 4.81 | 2.422 | 9 |  | F | N | N | Downlight/Flush Mounted | W | CFL - integral ballast | CFL bare spiral | E27 |  | 11 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L10 | 7 | Bathroom | 4.81 | 2.422 | 9 | Y | F | N | N | Downlight/Flush Mounted | W | CFL - integral ballast | CFL bare spiral | E27 |  | 11 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L11 | 7 | Bathroom | 4.81 | 2.422 | 9 | Y | F | N | N | Downlight/Flush Mounted | W | CFL - integral ballast | CFL bare spiral | E27 |  | 11 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L12 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 10 |  | F | N | N | Downlight/Flush Mounted | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 35 |  | 4 |  | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L13 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 10 | Y | F | N | N | Downlight/Flush Mounted | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 35 |  | 4 |  | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L14 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 10 | Y | F | N | N | Downlight/Flush Mounted | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 35 |  | 4 |  | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L15 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 10 | Y | F | N | N | Downlight/Flush Mounted | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 35 |  | 4 |  | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L16 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 10 | Y | F | N | N | Downlight/Flush Mounted | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 35 |  | 4 |  | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L17 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 10 | Y | F | N | N | Downlight/Flush Mounted | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 35 |  | 4 |  | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L18 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 11 |  | F | N | N | Under bench | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 20 |  | 0 | In cupboards | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L19 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 12 |  | F | N | N | Under bench | W | Halogen - low voltage | Reflector - MR 50mm |  |  | 20 |  | 0 |  | OK |  | ShapeHLV | CapHLV | TransHLV | OK
G15 | L20 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 13 |  | F | N | N | Rangehood | W | Incandescent (tungsten) | Fancy Round clear |  |  | 25 |  | 0.5 |  | OK |  | ShapeIncan | CapIncan | TransIncan | OK
G15 | L21 | 8 | Kitchen (open plan) | 15.71 | 2.449 | 13 | y | F | N | N | Rangehood | W | Incandescent (tungsten) | Fancy Round clear |  |  | 25 |  | 0.5 |  | OK |  | ShapeIncan | CapIncan | TransIncan | OK
G15 | L22 | 9 | Hallway | 3.83 | 2.452 | 14 |  | F | N | N | Oyster | W | Incandescent (tungsten) | A-shape frosted |  |  | 60 |  | 0.1 |  | OK |  | ShapeIncan | CapIncan | TransIncan | OK
G15 | L23 | 10 | Laundry | 9.56 | 2.447 | 15 |  | F | N | N | Batton Holder with Shade | W | CFL - integral ballast | CFL bare spiral |  |  | 12 |  | 0.2 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L24 | 10 | Laundry | 9.56 | 2.447 | 15 | Y | F | N | N | Batton Holder with Shade | W | CFL - integral ballast | CFL bare spiral |  |  | 12 |  | 0.2 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L25 | 11 | Bedroom | 19.66 | 2.447 | 16 |  | F | N | N | Batton Holder with Shade | W | CFL - integral ballast | CFL bare spiral |  |  | 20 |  | 1 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L26 | 11 | Bedroom | 19.66 | 2.447 | 17 |  | P | N | N | Bedside Lamp | W | CFL - integral ballast | CFL bare stick |  |  | 18 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L27 | 11 | Bedroom | 19.66 | 2.447 | 18 |  | P | N | N | Bedside Lamp | W | CFL - integral ballast | CFL bare stick |  |  | 18 |  | 0 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L28 | 12 | Bathroom | 5.44 | 2.408 | 19 |  | F | N | N | Downlight/Flush Mounted | W | CFL - integral ballast | CFL bare spiral | E27 |  | 11 |  | 0 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L29 | 12 | Bathroom | 5.44 | 2.408 | 19 | Y | F | N | N | Downlight/Flush Mounted | W | CFL - integral ballast | CFL bare spiral | E27 |  | 11 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L30 | 12 | Bathroom | 5.44 | 2.408 | 19 | Y | F | N | N | Downlight/Flush Mounted | W | CFL - integral ballast | CFL bare spiral | E27 |  | 11 |  | 0.5 |  | OK |  | ShapeCFLIB | CapCFLIB | TransCFLIB | OK
G15 | L31 | 13 | Garage | 29.96 | 2.732 | 20 |  | F | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 18 |  | 1 | 600mm T8 | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L32 | 13 | Garage | 29.96 | 2.732 | 20 | Y | F | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 20 |  | 1 | 600mm T12 | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L33 | 13 | Garage | 29.96 | 2.732 | 20 | Y | F | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 18 |  | 1 | 600mm T8 | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L34 | 13 | Garage | 29.96 | 2.732 | 20 | Y | F | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 20 |  | 1 | 600mm T12 | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L35 | 14 | Outside-general | 0 | 0 | 21 |  | F | N | N | Wall Light | W | Halogen - mains voltage | Capsule |  |  | 50 |  | 0 |  | OK |  | ShapeHMV | CapHMV | TransHMV | OK
G15 | L36 | 13 | Garage | 29.96 | 2.732 | 22 |  | P | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 40 |  | 0.1 | 1200mm T12 | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L37 | 13 | Garage | 29.96 | 2.732 | 22 | y | P | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 40 |  | 0.1 | 1200mm T12 | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L38 | 13 | Garage | 29.96 | 2.732 | 22 | y | P | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 36 |  | 0.1 | 1200mm T8 | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L39 | 13 | Garage | 29.96 | 2.732 | 23 |  | F | N | N | Wall Light | W | Incandescent (tungsten) | A-shape clear |  |  | 75 |  | 0 |  | OK |  | ShapeIncan | CapIncan | TransIncan | OK
G15 | L40 | 13 | Garage | 29.96 | 2.732 | 24 |  | P | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 40 |  | 0.1 |  | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L41 | 13 | Garage | 29.96 | 2.732 | 24 | Y | P | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 36 |  | 0.1 |  | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L42 | 13 | Garage | 29.96 | 2.732 | 24 | Y | P | N | N | Linear batton/strip | C | Linear fluorescent | Linear tube |  |  | 36 |  | 0.1 |  | OK |  | ShapeLF | CapLF | TransLF | OK
G15 | L43 | 14 | Outside-general | 0 | 0 | 25 |  | F | N | Y | Floodlight/External Spotlight | W | Incandescent (tungsten) | Reflector - PAR |  |  | 150 |  | 0.05 |  | OK |  | ShapeIncan | CapIncan | TransIncan | OK
G15 | L44 | 14 | Outside-general | 0 | 0 | 25 | Y | F | N | Y | Floodlight/External Spotlight | W | Incandescent (tungsten) | Reflector - PAR |  |  | 150 |  | 0.05 |  | OK |  | ShapeIncan | CapIncan | TransIncan | OK
| L45 |  |  |  |  | 26 | [16 empty] | #N/A | #N/A | #N/A | OK
| L46 |  |  |  |  | 27 | [16 empty] | #N/A | #N/A | #N/A | OK
| L47 |  |  |  |  | 28 | [16 empty] | #N/A | #N/A | #N/A | OK
| L48 |  |  |  |  | 29 | [16 empty] | #N/A | #N/A | #N/A | OK
| L49 |  |  |  |  | 30 | [16 empty] | #N/A | #N/A | #N/A | OK
| L50 |  |  |  |  | 31 | [16 empty] | #N/A | #N/A | #N/A | OK
| L51 |  |  |  |  | 32 | [16 empty] | #N/A | #N/A | #N/A | OK
| L52 |  |  |  |  | 33 | [16 empty] | #N/A | #N/A | #N/A | OK
| L53 |  |  |  |  | 34 | [16 empty] | #N/A | #N/A | #N/A | OK
| L54 |  |  |  |  | 35 | [16 empty] | #N/A | #N/A | #N/A | OK
| L55 |  |  |  |  | 36 | [16 empty] | #N/A | #N/A | #N/A | OK
| L56 |  |  |  |  | 37 | [16 empty] | #N/A | #N/A | #N/A | OK
| L57 |  |  |  |  | 38 | [16 empty] | #N/A | #N/A | #N/A | OK
| L58 |  |  |  |  | 39 | [16 empty] | #N/A | #N/A | #N/A | OK
| L59 |  |  |  |  | 40 | [16 empty] | #N/A | #N/A | #N/A | OK
| L60 |  |  |  |  | 41 | [16 empty] | #N/A | #N/A | #N/A | OK
| L61 |  |  |  |  | 42 | [16 empty] | #N/A | #N/A | #N/A | OK
| L62 |  |  |  |  | 43 | [16 empty] | #N/A | #N/A | #N/A | OK
| L63 |  |  |  |  | 44 | [16 empty] | #N/A | #N/A | #N/A | OK
| L64 |  |  |  |  | 45 | [16 empty] | #N/A | #N/A | #N/A | OK
| L65 |  |  |  |  | 46 | [16 empty] | #N/A | #N/A | #N/A | OK
| L66 |  |  |  |  | 47 | [16 empty] | #N/A | #N/A | #N/A | OK
| L67 |  |  |  |  | 48 | [16 empty] | #N/A | #N/A | #N/A | OK
| L68 |  |  |  |  | 49 | [16 empty] | #N/A | #N/A | #N/A | OK
| L69 |  |  |  |  | 50 | [16 empty] | #N/A | #N/A | #N/A | OK
| L70 |  |  |  |  | 51 | [16 empty] | #N/A | #N/A | #N/A | OK
| L71 |  |  |  |  | 52 | [16 empty] | #N/A | #N/A | #N/A | OK
| L72 |  |  |  |  | 53 | [16 empty] | #N/A | #N/A | #N/A | OK
| L73 |  |  |  |  | 54 | [16 empty] | #N/A | #N/A | #N/A | OK
| L74 |  |  |  |  | 55 | [16 empty] | #N/A | #N/A | #N/A | OK
| L75 |  |  |  |  | 56 | [16 empty] | #N/A | #N/A | #N/A | OK
| L76 |  |  |  |  | 57 | [16 empty] | #N/A | #N/A | #N/A | OK
| L77 |  |  |  |  | 58 | [16 empty] | #N/A | #N/A | #N/A | OK
| L78 |  |  |  |  | 59 | [16 empty] | #N/A | #N/A | #N/A | OK
| L79 |  |  |  |  | 60 | [16 empty] | #N/A | #N/A | #N/A | OK
| L80 |  |  |  |  | 61 | [16 empty] | #N/A | #N/A | #N/A | OK
| L81 |  |  |  |  | 62 | [16 empty] | #N/A | #N/A | #N/A | OK
| L82 |  |  |  |  | 63 | [16 empty] | #N/A | #N/A | #N/A | OK
| L83 |  |  |  |  | 64 | [16 empty] | #N/A | #N/A | #N/A | OK
| L84 |  |  |  |  | 65 | [16 empty] | #N/A | #N/A | #N/A | OK
| L85 |  |  |  |  | 66 | [16 empty] | #N/A | #N/A | #N/A | OK
| L86 |  |  |  |  | 67 | [16 empty] | #N/A | #N/A | #N/A | OK
| L87 |  |  |  |  | 68 | [16 empty] | #N/A | #N/A | #N/A | OK
| L88 |  |  |  |  | 69 | [16 empty] | #N/A | #N/A | #N/A | OK
| L89 |  |  |  |  | 70 | [16 empty] | #N/A | #N/A | #N/A | OK
| L90 |  |  |  |  | 71 | [16 empty] | #N/A | #N/A | #N/A | OK
| L91 |  |  |  |  | 72 | [16 empty] | #N/A | #N/A | #N/A | OK
| L92 |  |  |  |  | 73 | [16 empty] | #N/A | #N/A | #N/A | OK
| L93 |  |  |  |  | 74 | [16 empty] | #N/A | #N/A | #N/A | OK
| L94 |  |  |  |  | 75 | [16 empty] | #N/A | #N/A | #N/A | OK
| L95 |  |  |  |  | 76 | [16 empty] | #N/A | #N/A | #N/A | OK
| L96 |  |  |  |  | 77 | [16 empty] | #N/A | #N/A | #N/A | OK
| L97 |  |  |  |  | 78 | [16 empty] | #N/A | #N/A | #N/A | OK
| L98 |  |  |  |  | 79 | [16 empty] | #N/A | #N/A | #N/A | OK
| L99 |  |  |  |  | 80 | [16 empty] | #N/A | #N/A | #N/A | OK
| L100 |  |  |  |  | 81 | [16 empty] | #N/A | #N/A | #N/A | OK
| L101 |  |  |  |  | 82 | [16 empty] | #N/A | #N/A | #N/A | OK
| L102 |  |  |  |  | 83 | [16 empty] | #N/A | #N/A | #N/A | OK
| L103 |  |  |  |  | 84 | [16 empty] | #N/A | #N/A | #N/A | OK
| L104 |  |  |  |  | 85 | [16 empty] | #N/A | #N/A | #N/A | OK
| L105 |  |  |  |  | 86 | [16 empty] | #N/A | #N/A | #N/A | OK
| L106 |  |  |  |  | 87 | [16 empty] | #N/A | #N/A | #N/A | OK
| L107 |  |  |  |  | 88 | [16 empty] | #N/A | #N/A | #N/A | OK
| L108 |  |  |  |  | 89 | [16 empty] | #N/A | #N/A | #N/A | OK
| L109 |  |  |  |  | 90 | [16 empty] | #N/A | #N/A | #N/A | OK
| L110 |  |  |  |  | 91 | [16 empty] | #N/A | #N/A | #N/A | OK
| L111 |  |  |  |  | 92 | [16 empty] | #N/A | #N/A | #N/A | OK
| L112 |  |  |  |  | 93 | [16 empty] | #N/A | #N/A | #N/A | OK
| L113 |  |  |  |  | 94 | [16 empty] | #N/A | #N/A | #N/A | OK
| L114 |  |  |  |  | 95 | [16 empty] | #N/A | #N/A | #N/A | OK
| L115 |  |  |  |  | 96 | [16 empty] | #N/A | #N/A | #N/A | OK
| L116 |  |  |  |  | 97 | [16 empty] | #N/A | #N/A | #N/A | OK
| L117 |  |  |  |  | 98 | [16 empty] | #N/A | #N/A | #N/A | OK
| L118 |  |  |  |  | 99 | [16 empty] | #N/A | #N/A | #N/A | OK
| L119 |  |  |  |  | 100 | [16 empty] | #N/A | #N/A | #N/A | OK
| L120 |  |  |  |  | 101 | [16 empty] | #N/A | #N/A | #N/A | OK
| L121 |  |  |  |  | 102 | [16 empty] | #N/A | #N/A | #N/A | OK
| L122 |  |  |  |  | 103 | [16 empty] | #N/A | #N/A | #N/A | OK
| L123 |  |  |  |  | 104 | [16 empty] | #N/A | #N/A | #N/A | OK
| L124 |  |  |  |  | 105 | [16 empty] | #N/A | #N/A | #N/A | OK
| L125 |  |  |  |  | 106 | [16 empty] | #N/A | #N/A | #N/A | OK
| L126 |  |  |  |  | 107 | [16 empty] | #N/A | #N/A | #N/A | OK
| L127 |  |  |  |  | 108 | [16 empty] | #N/A | #N/A | #N/A | OK
| L128 |  |  |  |  | 109 | [16 empty] | #N/A | #N/A | #N/A | OK
| L129 |  |  |  |  | 110 | [16 empty] | #N/A | #N/A | #N/A | OK
| L130 |  |  |  |  | 111 | [16 empty] | #N/A | #N/A | #N/A | OK
| L131 |  |  |  |  | 112 | [16 empty] | #N/A | #N/A | #N/A | OK
| L132 |  |  |  |  | 113 | [16 empty] | #N/A | #N/A | #N/A | OK
| L133 |  |  |  |  | 114 | [16 empty] | #N/A | #N/A | #N/A | OK
| L134 |  |  |  |  | 115 | [16 empty] | #N/A | #N/A | #N/A | OK
| L135 |  |  |  |  | 116 | [16 empty] | #N/A | #N/A | #N/A | OK
| L136 |  |  |  |  | 117 | [16 empty] | #N/A | #N/A | #N/A | OK
| L137 |  |  |  |  | 118 | [16 empty] | #N/A | #N/A | #N/A | OK
| L138 |  |  |  |  | 119 | [16 empty] | #N/A | #N/A | #N/A | OK
| L139 |  |  |  |  | 120 | [16 empty] | #N/A | #N/A | #N/A | OK
| L140 |  |  |  |  | 121 | [16 empty] | #N/A | #N/A | #N/A | OK
| L141 |  |  |  |  | 122 | [16 empty] | #N/A | #N/A | #N/A | OK
| L142 |  |  |  |  | 123 | [16 empty] | #N/A | #N/A | #N/A | OK
| L143 |  |  |  |  | 124 | [16 empty] | #N/A | #N/A | #N/A | OK
| L144 |  |  |  |  | 125 | [16 empty] | #N/A | #N/A | #N/A | OK
| L145 |  |  |  |  | 126 | [16 empty] | #N/A | #N/A | #N/A | OK
| L146 |  |  |  |  | 127 | [16 empty] | #N/A | #N/A | #N/A | OK
| L147 |  |  |  |  | 128 | [16 empty] | #N/A | #N/A | #N/A | OK
| L148 |  |  |  |  | 129 | [16 empty] | #N/A | #N/A | #N/A | OK
| L149 |  |  |  |  | 130 | [16 empty] | #N/A | #N/A | #N/A | OK
| L150 |  |  |  |  | 131 | [16 empty] | #N/A | #N/A | #N/A | OK
| L151 |  |  |  |  | 132 | [16 empty] | #N/A | #N/A | #N/A | OK
| L152 |  |  |  |  | 133 | [16 empty] | #N/A | #N/A | #N/A | OK
| L153 |  |  |  |  | 134 | [16 empty] | #N/A | #N/A | #N/A | OK
| L154 |  |  |  |  | 135 | [16 empty] | #N/A | #N/A | #N/A | OK
| L155 |  |  |  |  | 136 | [16 empty] | #N/A | #N/A | #N/A | OK
| L156 |  |  |  |  | 137 | [16 empty] | #N/A | #N/A | #N/A | OK
| L157 |  |  |  |  | 138 | [16 empty] | #N/A | #N/A | #N/A | OK
| L158 |  |  |  |  | 139 | [16 empty] | #N/A | #N/A | #N/A | OK
| L159 |  |  |  |  | 140 | [16 empty] | #N/A | #N/A | #N/A | OK
| L160 |  |  |  |  | 141 | [16 empty] | #N/A | #N/A | #N/A | OK
| L161 |  |  |  |  | 142 | [16 empty] | #N/A | #N/A | #N/A | OK
| L162 |  |  |  |  | 143 | [16 empty] | #N/A | #N/A | #N/A | OK
| L163 |  |  |  |  | 144 | [16 empty] | #N/A | #N/A | #N/A | OK
| L164 |  |  |  |  | 145 | [16 empty] | #N/A | #N/A | #N/A | OK
| L165 |  |  |  |  | 146 | [16 empty] | #N/A | #N/A | #N/A | OK
| L166 |  |  |  |  | 147 | [16 empty] | #N/A | #N/A | #N/A | OK
| L167 |  |  |  |  | 148 | [16 empty] | #N/A | #N/A | #N/A | OK
| L168 |  |  |  |  | 149 | [16 empty] | #N/A | #N/A | #N/A | OK
| L169 |  |  |  |  | 150 | [16 empty] | #N/A | #N/A | #N/A | OK
| L170 |  |  |  |  | 151 | [16 empty] | #N/A | #N/A | #N/A | OK
| L171 |  |  |  |  | 152 | [16 empty] | #N/A | #N/A | #N/A | OK
| L172 |  |  |  |  | 153 | [16 empty] | #N/A | #N/A | #N/A | OK
| L173 |  |  |  |  | 154 | [16 empty] | #N/A | #N/A | #N/A | OK
| L174 |  |  |  |  | 155 | [16 empty] | #N/A | #N/A | #N/A | OK
| L175 |  |  |  |  | 156 | [16 empty] | #N/A | #N/A | #N/A | OK
| L176 |  |  |  |  | 157 | [16 empty] | #N/A | #N/A | #N/A | OK
| L177 |  |  |  |  | 158 | [16 empty] | #N/A | #N/A | #N/A | OK
| L178 |  |  |  |  | 159 | [16 empty] | #N/A | #N/A | #N/A | OK
| L179 |  |  |  |  | 160 | [16 empty] | #N/A | #N/A | #N/A | OK
| L180 |  |  |  |  | 161 | [16 empty] | #N/A | #N/A | #N/A | OK
| L181 |  |  |  |  | 162 | [16 empty] | #N/A | #N/A | #N/A | OK
| L182 |  |  |  |  | 163 | [16 empty] | #N/A | #N/A | #N/A | OK
| L183 |  |  |  |  | 164 | [16 empty] | #N/A | #N/A | #N/A | OK
| L184 |  |  |  |  | 165 | [16 empty] | #N/A | #N/A | #N/A | OK
| L185 |  |  |  |  | 166 | [16 empty] | #N/A | #N/A | #N/A | OK
| L186 |  |  |  |  | 167 | [16 empty] | #N/A | #N/A | #N/A | OK
| L187 |  |  |  |  | 168 | [16 empty] | #N/A | #N/A | #N/A | OK
| L188 |  |  |  |  | 169 | [16 empty] | #N/A | #N/A | #N/A | OK
| L189 |  |  |  |  | 170 | [16 empty] | #N/A | #N/A | #N/A | OK
| L190 |  |  |  |  | 171 | [16 empty] | #N/A | #N/A | #N/A | OK
| L191 |  |  |  |  | 172 | [16 empty] | #N/A | #N/A | #N/A | OK
| L192 |  |  |  |  | 173 | [16 empty] | #N/A | #N/A | #N/A | OK
| L193 |  |  |  |  | 174 | [16 empty] | #N/A | #N/A | #N/A | OK
| L194 |  |  |  |  | 175 | [16 empty] | #N/A | #N/A | #N/A | OK
| L195 |  |  |  |  | 176 | [16 empty] | #N/A | #N/A | #N/A | OK
| L196 |  |  |  |  | 177 | [16 empty] | #N/A | #N/A | #N/A | OK
| L197 |  |  |  |  | 178 | [16 empty] | #N/A | #N/A | #N/A | OK
| L198 |  |  |  |  | 179 | [16 empty] | #N/A | #N/A | #N/A | OK
| L199 |  |  |  |  | 180 | [16 empty] | #N/A | #N/A | #N/A | OK
| L200 |  |  |  |  | 181 | [16 empty] | #N/A | #N/A | #N/A | OK
| L201 |  |  |  |  | 182 | [16 empty] | #N/A | #N/A | #N/A | OK
| L202 |  |  |  |  | 183 | [16 empty] | #N/A | #N/A | #N/A | OK
| L203 |  |  |  |  | 184 | [16 empty] | #N/A | #N/A | #N/A | OK
| L204 |  |  |  |  | 185 | [16 empty] | #N/A | #N/A | #N/A | OK
| L205 |  |  |  |  | 186 | [16 empty] | #N/A | #N/A | #N/A | OK
| L206 |  |  |  |  | 187 | [16 empty] | #N/A | #N/A | #N/A | OK
| L207 |  |  |  |  | 188 | [16 empty] | #N/A | #N/A | #N/A | OK
| L208 |  |  |  |  | 189 | [16 empty] | #N/A | #N/A | #N/A | OK
| L209 |  |  |  |  | 190 | [16 empty] | #N/A | #N/A | #N/A | OK
| L210 |  |  |  |  | 191 | [16 empty] | #N/A | #N/A | #N/A | OK
| L211 |  |  |  |  | 192 | [16 empty] | #N/A | #N/A | #N/A | OK
| L212 |  |  |  |  | 193 | [16 empty] | #N/A | #N/A | #N/A | OK
| L213 |  |  |  |  | 194 | [16 empty] | #N/A | #N/A | #N/A | OK
| L214 |  |  |  |  | 195 | [16 empty] | #N/A | #N/A | #N/A | OK
| L215 |  |  |  |  | 196 | [16 empty] | #N/A | #N/A | #N/A | OK
| L216 |  |  |  |  | 197 | [16 empty] | #N/A | #N/A | #N/A | OK
| L217 |  |  |  |  | 198 | [16 empty] | #N/A | #N/A | #N/A | OK
| L218 |  |  |  |  | 199 | [16 empty] | #N/A | #N/A | #N/A | OK
| L219 |  |  |  |  | 200 | [16 empty] | #N/A | #N/A | #N/A | OK
| L220 |  |  |  |  | 201 | [16 empty] | #N/A | #N/A | #N/A | OK
| L221 |  |  |  |  | 202 | [16 empty] | #N/A | #N/A | #N/A | OK
| L222 |  |  |  |  | 203 | [16 empty] | #N/A | #N/A | #N/A | OK
| L223 |  |  |  |  | 204 | [16 empty] | #N/A | #N/A | #N/A | OK
| L224 |  |  |  |  | 205 | [16 empty] | #N/A | #N/A | #N/A | OK
| L225 |  |  |  |  | 206 | [16 empty] | #N/A | #N/A | #N/A | OK
| L226 |  |  |  |  | 207 | [16 empty] | #N/A | #N/A | #N/A | OK
| L227 |  |  |  |  | 208 | [16 empty] | #N/A | #N/A | #N/A | OK
| L228 |  |  |  |  | 209 | [16 empty] | #N/A | #N/A | #N/A | OK
| L229 |  |  |  |  | 210 | [16 empty] | #N/A | #N/A | #N/A | OK
| L230 |  |  |  |  | 211 | [16 empty] | #N/A | #N/A | #N/A | OK
| L231 |  |  |  |  | 212 | [16 empty] | #N/A | #N/A | #N/A | OK
| L232 |  |  |  |  | 213 | [16 empty] | #N/A | #N/A | #N/A | OK
| L233 |  |  |  |  | 214 | [16 empty] | #N/A | #N/A | #N/A | OK
| L234 |  |  |  |  | 215 | [16 empty] | #N/A | #N/A | #N/A | OK
| L235 |  |  |  |  | 216 | [16 empty] | #N/A | #N/A | #N/A | OK
| L236 |  |  |  |  | 217 | [16 empty] | #N/A | #N/A | #N/A | OK
| L237 |  |  |  |  | 218 | [16 empty] | #N/A | #N/A | #N/A | OK
| L238 |  |  |  |  | 219 | [16 empty] | #N/A | #N/A | #N/A | OK
| L239 |  |  |  |  | 220 | [16 empty] | #N/A | #N/A | #N/A | OK
| L240 |  |  |  |  | 221 | [16 empty] | #N/A | #N/A | #N/A | OK
| L241 |  |  |  |  | 222 | [16 empty] | #N/A | #N/A | #N/A | OK
| L242 |  |  |  |  | 223 | [16 empty] | #N/A | #N/A | #N/A | OK
| L243 |  |  |  |  | 224 | [16 empty] | #N/A | #N/A | #N/A | OK
| L244 |  |  |  |  | 225 | [16 empty] | #N/A | #N/A | #N/A | OK
| L245 |  |  |  |  | 226 | [16 empty] | #N/A | #N/A | #N/A | OK
| L246 |  |  |  |  | 227 | [16 empty] | #N/A | #N/A | #N/A | OK
| L247 |  |  |  |  | 228 | [16 empty] | #N/A | #N/A | #N/A | OK
| L248 |  |  |  |  | 229 | [16 empty] | #N/A | #N/A | #N/A | OK
| L249 |  |  |  |  | 230 | [16 empty] | #N/A | #N/A | #N/A | OK
| L250 |  |  |  |  | 231 | [16 empty] | #N/A | #N/A | #N/A | OK

## Lamp Valid
Lamps Validation Sheet | Headings are a description, cells with highlighted are values in the range |  |  | The top ranges with green highlight are dynamic range names that change depending on the technology selected
Green text is the range name
Technology |  | Fitting
Technology |  | Fitting |  | Tech/Shape Range |  | Tech/Cap Range |  | Tech/Transf-ball Range
Incandescent (tungsten) |  | Batton Holder |  | ShapeIncan |  | CapIncan |  | TransIncan
Halogen - mains voltage |  | Batton Holder with Shade |  | ShapeHMV |  | CapHMV |  | TransHMV
Halogen - low voltage |  | Bedside Lamp |  | ShapeHLV |  | CapHLV |  | TransHLV
CFL - integral ballast |  | Chandelier | 3 or more lamps on a single pendant | ShapeCFLIB |  | CapCFLIB |  | TransCFLIB
CFL - separate ballast |  | Desk Lamp |  | ShapeCFLSB |  | CapCFLSB |  | TransCFLSB
Linear fluorescent |  | Downlight/Flush Mounted |  | ShapeLF |  | CapLF |  | TransLF
Circular fluorescent |  | Fan Light |  | ShapeCF |  | CapCF |  | TransCF
LED directional |  | Fixed Floor Light |  | ShapeLEDdir |  | CapLEDdir |  | TransLEDdir
LED non-directional |  | Floodlight/External Spotlight |  | ShapeLED |  | CapLED |  | TransLED
Heat Lamp |  | Floor/Standard Lamp |  | ShapeHeat |  | CapHeat |  | TransHeat
Other |  | Garden Light |  | ShapeO |  | CapO |  | TransO
Cannot identify low eff |  | Heat Lamp Unit |  | ShapeCI |  | CapCI |  | TransCI
Cannot identify high eff |  | Indoor Spotlight | (not gible downlight, incls track) | ShapeCIHE |  | CapCIHE |  | TransCIHE
|  | Linear batton/strip | (note whether bare or shrouded?) strip??
LampType |  | Nightlight |  | Shape Validation |  | Cap Validation |  | Transformer Validation
Lamp connection type |  | Other |  | ShapeIncan |  | CapIncan |  | TransIncan
F | (fixed) | Oyster |  | Incandescent - mains voltage |  | Incandescent - mains voltage |  | Incandescent - mains voltage
P | (plug-in) | Pendant | Was suspended | A-shape frosted |  | B22 |  | N/A
|  | Pool Light | No? | A-shape clear |  | E27
Same |  | Rangehood |  | Fancy Round frosted |  | B15
Same switch as previous lamp |  | Skylight-with-lamp |  | Fancy Round clear |  | E14
Y |  | Table Lamp |  | Globe (sphere) frosted |  | GU10 (240V)
|  | Under bench |  | Globe (sphere) clear |  | Other
|  | Uplight |  | Candle frosted |  | Cannot identify
Dimmer |  | Wall Light |  | Candle clear
Dimmer/Motion |  |  |  | Pilot
Y |  |  |  | Reflector - R
N |  | Connection | Not used = lamp type | Reflector - PAR
|  | Connection |  | Filament
Room |  | Plug |  | Other
Room |  | Hardwired |  | Cannot identify
Bathroom | Indoor | NA
Bedroom | Indoor |  |  | ShapeHMV |  | CapHMV |  | TransHMV
Dining | Indoor | Colour |  | Halogen - mains voltage |  | Halogen - mains voltage |  | Halogen - mains voltage
Foyer-inside | Indoor | Colour temperature |  | A-shape frosted |  | B22 |  | N/A
Garage | Outdoor | C | Cool | A-shape clear |  | E27
Hallway | Indoor | W | Warm | Fancy Round frosted |  | B15
Kitchen (separate) | Indoor |  |  | Fancy Round clear |  | E14
Kitchen (open plan) | Indoor | see usage tab |  | Globe (sphere) frosted |  | GU10 (240V)
Kitchen/Living | Indoor | Usage |  | Globe (sphere) clear |  | R7 | double ended
Laundry | Indoor |  |  | Candle frosted |  | Other
Living-other | Indoor |  |  | Candle clear |  | Cannot identify
Lounge | Indoor | Htype |  | Pilot
Media-room | Indoor | House Type |  | Capsule
Other-inside | Indoor | Detached house |  | Reflector - R
Outside-general | Outdoor | Attached (town house) |  | Reflector - PAR
Outside-other | Outdoor | Flat |  | Reflector - MR 50mm
Pantry | Indoor |  |  | Double ended (lin halogen) | stds sizes and W
Stairwell | Indoor |  |  | Other
Storage-Room | Indoor | Powerinfo |  | Cannot identify
Study | Indoor | Source of power information
Toilet | Indoor | L | Labelling on lamp | ShapeHLV |  | CapHLV |  | TransHLV
Verandah | Outdoor | M | Measured | Halogen - low voltage |  | Halogen - low voltage |  | Halogen - low voltage
Walk-in-Robe | Indoor | G | Guess | Capsule |  | G4-5.3 (12V) |  | Magnetic
|  | Default if blank = L |  | Reflector - MR 50mm |  | Cannot identify |  | Electronic
|  |  |  | Reflector - MR 30mm |  |  |  | Cannot identify
Double ended (lin halogen)
Other
Cannot identify
|  |  |  | ShapeCFLIB |  | CapCFLIB |  | TransCFLIB
|  |  |  | CFL - integral ballast |  | CFL - integral ballast |  | CFL - integral ballast
|  |  |  | A-shape frosted |  | B22 |  | N/A | Don't we want to determine LF or HF?
|  |  |  | Fancy Round frosted |  | E27
|  |  |  | Globe (sphere) frosted |  | B15
|  |  |  | Candle frosted |  | E14
|  |  |  | Reflector - R |  | GU10 (240V)
|  |  |  | Reflector - PAR |  | Other
|  |  |  | Reflector - MR 50mm |  | Cannot identify
CFL bare stick
CFL bare spiral
Other
Cannot identify
|  |  |  | ShapeCFLSB |  | CapCFLSB |  | TransCFLSB
|  |  |  | CFL - separate ballast |  | CFL - separate ballast |  | CFL - separate ballast
|  |  |  | CFL bare stick/ U shape |  | N/A |  | Magnetic
Electronic
Cannot identify
|  |  |  | ShapeLF |  | CapLF |  | TransLF
|  |  |  | Linear fluorescent |  | Linear fluorescent |  | Linear fluorescent
|  |  |  | Linear tube |  | N/A |  | Magnetic
Electronic
Cannot identify
|  |  |  | ShapeCF |  | CapCF |  | TransCF
|  |  |  | Circular fluorescent |  | Circular fluorescent |  | Circular fluorescent
|  |  |  | Circular tube |  | N/A |  | Magnetic
Electronic
Cannot identify
|  |  |  | ShapeLEDdir |  | CapLEDdir |  | TransLEDdir
|  |  |  | LED directional |  | LED directional |  | LED directional
|  |  |  | Reflector - R |  | B22 |  | Magnetic (12V)
|  |  |  | Reflector - PAR |  | E27 |  | Electronic (12V)
|  |  |  | Reflector - MR 50mm |  | B15 |  | Cannot identify
|  |  |  | Reflector - MR 30mm |  | E14 |  | N/A (240V)
|  |  |  | Integrated light |  | GU10 (240V)
|  |  |  | Other |  | G4-5.3 (12V)
|  |  |  | Cannot identify |  | Other
No cap
Cannot identify
N/A
|  |  |  | ShapeLED |  | CapLED |  | TransLED
|  |  |  | LED non-directional |  | LED non-directional |  | LED non-directional
|  |  |  | A-shape frosted |  | B22 |  | Magnetic (12V)
|  |  |  | A-shape clear |  | E27 |  | Electronic (12V)
|  |  |  | Fancy Round frosted |  | B15 |  | Cannot identify
|  |  |  | Fancy Round clear |  | E14 |  | N/A (240V)
|  |  |  | Globe (sphere) frosted |  | R7
|  |  |  | Globe (sphere) clear |  | Other
|  |  |  | Candle frosted |  | No cap
|  |  |  | Candle clear |  | Cannot identify
|  |  |  | Pilot |  | N/A
Capsule
|  |  |  | Double ended (repl lin halogen) | rare
|  |  |  | Bare stick repl CFL | rare
|  |  |  | Linear tube (repl flouro) | note length
|  |  |  | Circular tube (repl fluoro) | Note diam
LED strip light
Filament (LED replacement)
Other
Cannot identify
|  |  |  | ShapeHeat |  | CapHeat |  | TransHeat
|  |  |  | Heat Lamp |  | Heat Lamp |  | Heat Lamp
|  |  |  | Reflector - R |  | N/A |  | N/A
Reflector - PAR
|  |  |  | ShapeO |  | CapO |  | TransO
|  |  |  | Other |  | Other |  | Other
|  |  |  | N/A |  | N/A |  | N/A
|  |  |  | ShapeCI |  | CapCI |  | TransCI
|  |  |  | Cannot identify low efficiency |  | Cannot identify low efficiency |  | Cannot identify low efficiency
|  |  |  | N/A |  | N/A |  | N/A
|  |  |  | ShapeCIHE |  | CapCIHE |  | TransCIHE
|  |  |  | Cannot identify high efficiency |  | Cannot identify high efficiency |  | Cannot identify high efficiency
|  |  |  | N/A |  | N/A |  | N/A
Note on H84: Lloyd: B22 cap ballast with plug in CFL lamps do exist but they are rare - classify as integral

## Usage
Usage levels for each lamps
Please nominate the hours of use that typifies your average level of usage
(over the seasons) for each lamp nominated by the auditor
Usage in annual average HOURS PER DAY
Example | Usage | Guidance | Examples
0.1 | Rarely or never used | A few hours a month or less
0.5 | Low usage | < 0.5 hours per day
1 | Medium usage | 0.5 hours per day to 1.5 hours per day | toilet, bathroom, bedrooms
3 | Main lighting lower use | 2 to 4 hours per day | parts of living areas, task lights in kitchen
5 | Main lighting higher use | 4.5 to 7 hours per day | parts of living areas, kitchen, high use hallways, some outdoor lights for access
10 | Main lighting long use | >7 hours per day, but not continuous | lights on during the day for long periods, a home office, some lights in living area
24 | Always on | Usually left on 24 h/day

## Lamp ID
Lamp and Technology Identification Guide
Strip Lights | Can be warm or cool colour |  |  | Does it blink when it starts (and/or short delay) |  |  |  | Yes => | Magnetic ballast+starter
No
|  |  |  | 16mm = T5 (electronic only) |  | 1150mm | 25W
Electronic ballast for T8 lamps (unusual in residential) (see lamp list to right)
LED strip light
Lamp Colour | Cool | Will be fluorescent or LED
| Warm | Can be any technology
Starting | Blink on start |  | Probably fluorescent with magnetic ballast+starter (might be CFL with electronic ballast)
| Short delay or no delay |  | Could be fluorescent or LED (0.25 sec) (electronic)
| Immediate ramp up |  | Incandescent or halogen (light starts immediately but takes 0.25 sec to reach full brightness)
| Low initial light output |  | Probably fluorescent (CFL)
G4-5.3 RIGHT = 12V
Downlights | MR16 - 50mm diameter downlights, flush mounted (or equivalent)
MR10 - 30mm - ditto, these are almost always low voltage for residential (option is not available for mains voltage halogen)
Halogen - cone shape reflector, can see the capsule in the cone (if not frosted) with light off, warm yellow colour, point light source but not in the base of the cone
LED - can be a point light source in the base of the cone, often looks yellow when off
LED - can be multi LEDs mounted around the 50mm lamp (no reflector cone) - can be 3 to 7 LEDs - see lighting guide
| CFL - can usually see the tube when on and/or off | [8 empty] | Transfomer on a track light==>
Track/spot lights | If there is no transformer visible (or a large lump that can house a transformer), the lamps are most likely low voltage (bare wires will be also be low voltage)
Light bulbs
CFL stick - can be 1 to 4 sticks, most light output is sideways (useful if trying to see through an opaque fitting), range of 10W to 40W (very large with 4 sticks) - most around 12W to 18W, usually have round base
CFL spiral - throws light more evenly (still a lot of light sideways), typically 11W to 20W, can be up to 25W for large, usually have round base (almost always integral - plug in rare)
CFL plug in stick - square base that plugs into a hard wired fitting (it is possible to have a plug in CFL lamp into a ballast that has a B22 cap, but this is rare), can be Double D shape (see Lighting Guide pics)
These can | Incandescent - can see tungsten filament if clear (very thin wire), around 30mm long, light emitted along wire length when on (long light source), warm yellow light, lamp power usually written on the glass
look very similar | Halogen bulbs - can see halogen capsule inside if clear, light emitted from more of a point source if frosted, warm yellow light, lamp powers typically lower than incandescent (many different power levels)
LED - usually immediate on at full brightness, often A shape with frosted top half only (ice cream cone) with plastic base, often cooler colour (but LED can now be any shape or configuration)
Off | CFL and fluorescents can leave an afterglow for a second or so when turned off (darker room)
LED off should be almost immediate
| Incandescent and halogen off is a ramp down of light with light receding to a small point over about 0.2 sec as the wire/capsule cools | [8 empty] | Gimble mounted downlights - THESE SHOULD ALMOST ALWAYS 12V SYSTEMS
(NOT MAINS VOLTAGE) FOR HALOGEN AND LED
Note the larger ring
PINS |  | GU10 - LEFT = 240V | [8 empty] | These have to have a 90mm hole in the plaster
GU10 is always mains voltage | [10 empty] | Out ring diameter is about 100mm
G4-5.3 is always low voltage
Show householder a lamp with the pins
They may be able to tell you what they have

## Lamp-power
Lamp power guide |  | See Lamp ID sheet for more guidance on technologies
Print this page to have with you
Non-directional lamps | Typical Wattage
Typical use | Incandescent | Halogen | Cannot ID Low Eff | CFL | LED | Cannot ID High Eff
chandelier (per lamp) | 15 | 10 | 13 | 4 | 2 | 3
table light | 25 | 18 | 22 | 6 | 3 | 5
bedside lights, floor/standard light, rangehood | 40 | 28 | 33 | 9 | 5 | 7
small room, wall light | 60 | 42 | 51 | 13 | 8 | 11
medium room | 75 | 53 | 59 | 18 | 9 | 14
large room | 100 | 72 | 86 | 23 | 12 | 18
Directional lamps | Typical Wattage
Lamp type | Incandescent | Halogen | Cannot ID Low Eff | CFL | LED | Cannot ID High Eff
MR10 (30mm) |  | 20 |  |  | 5 | 5
MR16 (50mm) |  | 35 |  | 10 | 7 | 9
MR16 (50mm) (old) |  | 50 |  | 10 | 7 | 9
R80 | 60 | 42 | 51 | 11 | 9 | 10
| 100 | 72 | 86 | 15 | 11 | 13
PAR38 | 150 | 83 | 117 | 23 | 18 | 21
Heat lamp (usually Reflector - R) | 275
R80 is Reflector - R ==>
PAR38 is cone Reflector - PAR ==>
Typical use CFL stick (non integrated) | Type | Watts
Other lighting | 65mm 4 post | 10
Recessed can in ceiling | 90mm 4 post | 13
Recessed can in ceiling | 120mm 4 post | 18
Desk lamp | 190mm 2 post | 11 | Note: power does not include ballast loss
Circular Fluoro (with ballast) | Lamp Details | Typical Wattage
Usually an oyster fitting | Circle Diameter | Fluoro | LED
| 215 mm | 22 | 11
| 300 mm | 32 | 18
| 400 mm | 40 | 23
Typical use Capsules | Typical Wattage
|  | Halogen | LED
desk lamp | 12V | 10 | 2 | Look for a transformer in the lead or base
under cabinet/bench |  | 20 | 4 | Look for a transformer
rangehood | 240V | 20 | 4
ceiling/wall light |  | 50 | 10
Linear lights/strips | Lamp Details |  |  | Typical Wattage
Typical use | Lamp | Diameter | Length | Fluoro | LED
Pantry, cupboards | T5 | 16 mm | 300 mm | 8 |  | T5 is finger thickness
under cabinet/bench | T5 | 16 mm | 550 mm | 14 |  | T5 is finger thickness
(unusual) | T5 | 16 mm | 850 mm | 21 |  | T5 is finger thickness
general use | T5 | 16 mm | 1150 mm | 28 |  | T5 is finger thickness
general use | T8 | 25 mm | 600 mm | 18 | 9
(unusual) | T8 | 25 mm | 900 mm | 27 | 14
general use | T8 | 25 mm | 1200 mm | 36 | 18
(offices, unusual in res) | T8 | 25 mm | 1500 mm | 45 | 25
(very old) | T12 | 32 mm | 600 mm | 20 |  | Banned in 2004
(very old) | T12 | 32 mm | 900 mm | 30 |  | Banned in 2004
(very old) | T12 | 32 mm | 1200 mm | 40 |  | Banned in 2004
(very old) | T12 | 32 mm | 1500 mm | 65 |  | Banned in 2004